## Start Here – Instructions
Annex 6: Checklist for assessing warehouse condition for digital tools and equipment
Purpose
Use this checklist to assess whether a warehouse/storage location is suitable for storing campaign digital devices and accessories (tablets/phones, power banks, scanners, chargers) between campaigns and before deployment.
How to use
1) Complete 'Warehouse checklist' to confirm the storage environment and controls.
2) Complete 'Device and accessory checklist' to confirm device condition and readiness.
3) Review 'Summary' for compliance totals and the priority actions list.
Yellow cells are fields you fill in. Use responses: Yes / No / Partial / N/A.
Good practice frequencies (adapt as needed)
• Cleaning: at least bi-weekly
• Device inspection and battery maintenance: at least monthly
• Fire/smoke system inspection: per national standards, minimum quarterly
• Inventory reconciliation: before storage, before deployment, and after deployment

## Warehouse Checklist
Warehouse / Storage suitability checklist
ID | Area | Check item | Response | Priority
1 | Security and access control | Access controls in place (locks/keys/access cards); entry restricted to authorized personnel only.
2 | Security and access control | Visitor/access log (logbook or digital) records who accessed the storage area and when.
3 | Security and access control | CCTV/security cameras installed and functioning (or equivalent security monitoring).
4 | Security and access control | Doors/windows and perimeter are secure (good physical integrity; no easy entry points).
5 | Security and access control | Key management process in place (who holds keys, duplicates controlled).
6 | Temperature, humidity and ventilation | Devices stored away from direct sunlight and heat sources; no exposure to hot equipment.
7 | Temperature, humidity and ventilation | Adequate ventilation; no signs of condensation or mould.
8 | Temperature, humidity and ventilation | Temperature can be maintained between 15–25°C (59–77°F) during storage.
9 | Temperature, humidity and ventilation | Humidity can be maintained below 50% (or controlled to prevent corrosion/condensation).
10 | Temperature, humidity and ventilation | Devices stored away from windows/external walls where temperature/humidity fluctuates.
11 | Fire, smoke and emergency preparedness | Smoke detection system installed in the storage area and tested regularly.
12 | Fire, smoke and emergency preparedness | Fire extinguishers available, appropriate type, clearly labelled and unobstructed.
13 | Fire, smoke and emergency preparedness | Fire extinguishers inspected/serviced per schedule; records available.
14 | Fire, smoke and emergency preparedness | Emergency exits/paths are clear; evacuation procedures posted.
15 | Fire, smoke and emergency preparedness | Staff trained on fire response and use of extinguishers; training records available.
16 | Fire, smoke and emergency preparedness | Electrical safety: wiring in good condition, no overloaded sockets; surge protection available.
17 | Water / flood protection | Storage area not prone to flooding/water ingress (no leaks; roof/drainage in good condition).
18 | Water / flood protection | Preventive measures in place (drainage, sealing of entry points, raised storage off the floor).
19 | Water / flood protection | Flood detection (if risk exists) installed, tested, and maintained; emergency plan includes device protection steps.
20 | Cleanliness and pests | Storage area is regularly cleaned (at least bi-weekly) and free of dust build-up.
21 | Cleanliness and pests | Pest control measures in place; no evidence of rodents/insects; food/waste not stored nearby.
22 | Storage infrastructure and organization | Shelves/bins are sturdy, in good condition, and allow safe device stacking/storage.
23 | Storage infrastructure and organization | Devices/accessories are clearly labelled and organized (by type/region/role) for easy retrieval.
24 | Storage infrastructure and organization | Protective cases/padding used; devices stored to prevent falling/knock-over; no heavy items on top.
25 | Storage infrastructure and organization | Adequate spacing to avoid overcrowding; devices stored off the floor and away from damp areas.
26 | Storage infrastructure and organization | Secure cabinet/locked area available for high-value items (e.g. scanners, phones, power banks).
27 | Power, charging and maintenance routines | Safe charging arrangement (designated area, safe cabling, adequate sockets, no trip hazards).
28 | Power, charging and maintenance routines | Routine device check/charge plan in place (at least monthly) to prevent battery depletion.
29 | Power, charging and maintenance routines | Devices stored at ~50% charge when stored long-term (battery health) and powered off.
30 | Power, charging and maintenance routines | Temperature/humidity monitoring devices available and readings recorded (thermometer/hygrometer).
31 | Inventory and accountability | Inventory list exists with serial numbers/model/location/condition status for devices and accessories.
32 | Inventory and accountability | Check-in/check-out procedure documented (custody forms/signature) for deployment and return.
33 | Inventory and accountability | Incident reporting process exists for loss/damage/theft; corrective actions tracked.

## Device & Accessory Checklist
Device and Accessory Condition and Readiness Checklist
ID | Area | Check item | Response | Priority
1 | Physical condition | Devices inspected for physical damage/wear (cracks, dents, swollen batteries) before storage.
2 | Physical condition | Screen and touch responsiveness verified (tablets/phones).
3 | Physical condition | All ports (USB-C/charging) functional; no loose connections.
4 | Physical condition | Buttons functional (power/volume/home where applicable).
5 | Physical condition | Connectivity tested (Wi‑Fi, Bluetooth); GPS tested if required for microplanning/supervision.
6 | Power and chargers | Each device powers on and holds charge; basic battery health acceptable.
7 | Power and chargers | Power banks charge devices effectively; units labeled and functional.
8 | Power and chargers | Solar chargers (if used) charge devices effectively; panels/cables intact.
9 | Power and chargers | Charging cables/OTG cables/charging stations tested and functional.
10 | Software and security | Required campaign software/apps installed and updated; OS updates applied as appropriate.
11 | Software and security | Device management / security controls applied (MDM enrolment where used).
12 | Software and security | Passwords/PINs and encryption enabled if required; user accounts/roles configured.
13 | Software and security | Apps/forms/metadata updated and tested (including barcode scanning if applicable).
14 | Software and security | Data backup/export procedures defined; any old data wiped/reset where appropriate before reuse.
15 | Accessories and labelling | Protective cases, screen guards, styluses inspected; clean and functional.
16 | Accessories and labelling | Barcode scanners tested; spare batteries/cables included where relevant.
17 | Accessories and labelling | All devices and accessories labelled; kits complete (device + SIM + charger + accessories).
18 | Inventory and readiness | Inventory list includes serial numbers/model numbers, condition status, and storage location.
19 | Inventory and readiness | Devices stored powered off and kept at ~50% charge for long-term storage; monthly battery maintenance performed.
20 | Inventory and readiness | Final pre-deployment check planned: charge fully, confirm updates, pack kits, and sign custody forms.

## Lists
Response options | Priority
Yes | High
No | Medium
Partial | Low
N/A